## Slide 1: Implementation of homodyne interferometers for inertial rotation sensor
The University of Washington
Jasmine Watt, M. Ross, J. van Dongen

## Slide 2: Introduction
The inertial rotation sensor in the LIGO seismic isolation platforms
Homodyne Quadrature Interferometer (HoQI)
Prototype : the tabletop HoQI
Notes: New rotation sensor

## Slide 3: The inertial rotation sensor
How the sensor works: the proof mass stays stationary, and the platform rotates.
The angle of the proof mass can be retrieved by
The target sensitivity for the sensor is ~ [ (For HoQI: [)
suspended, at rest
rotates
Notes: Mention (0.7 pico radians)
R = 0.15 m = 15 cm

## Slide 4: Tabletop HoQI
Laser: 1300 nm, 10mW
arm attached to the rotation sensor
Noise level ~
(Laser) Wavelength injection for length matching
PD3
PD2
PD1
The optical layout of HoQI. (Cooper et al., 2018)
Notes: Michelson interferometer that uses polarization to measure multiple phases (multiple wavelength)

## Slide 5: Calculations of the sensitivity
The power measured on the photodiodes. (Cooper et al., 2018)
To convert to length
Without injection
Divide equation (4) by (5):
Then, we have:
)+
Notes: a is the fringe contrast
a and power disappear -> beautiful
3 variables and 3 eqs -> we can solve
 plot its Fourier Transform (say)

## Slide 6: Results
ASD plot(without temperature injection)
table vibration(?)
Notes: The noise recording of tabletop HoQI for 4hr data run overnight
Explain aixes: amplitude spectral density
The low frequency noise due to air flow and temperature change

## Slide 7: HoQI
Function under vacuum
Compacted design
Installation and data collection
Laser
Light beam
Notes: The size of HoQI is 3 inches can fit in your hand
Briefly indicate components

## Slide 8
HoQI installation overview.
(Picture by Michael Ross, 2022)
HoQI installation zoom-in.
(Picture by Michael Ross, 2022)

## Slide 9: Conclusion
The LIGO seismic isolation system  inertial rotation sensor  HoQIs  tabletop HoQI
Tabletop HoQI: ~
HoQI commissioning is ongoing

## Slide 10: Thank you for attendance!
References:
Cooper, S. J., Green, A. C., Collins, C., Hoyland, D., Speake, C. C., Freise, A., & Mow-Lowry, C. M. (2018). A compact, large-range interferometer for precision measurement and inertial sensing. Classical and Quantum Gravity, 35(9), 095007. https://doi.org/10.1088/1361-6382/aab2e9
The Eöt-Wash Group at CENPA, UW.